USB – RS485 – WE – 1800 – BT

(FTDI chip)

Install the driver available on the site FTDIchip.com (go in D2XX Drivers take the setup.exe)

- CDM21228_Setup.exe

Wiring

| Plug DB25 M | USB-RS485 FtdiChip.com |
| --- | --- |
| 3 - Rx/Tx (AA’) | Yellow |
| 7 – GND | Black |
| 16 - Rx/Tx (BB’) | Orange |

To connect the end of line resistor, connect :

- Yellow and brown together

- Orange and green ensemble

Take care: Isolate the red wire because it may be connected to 5V.

Tested on NVC6000

| Without End of line resistor: OK it works | With EOLR (wires connected together): OK it works. |
| --- | --- |